Weekly

Radiation/Contamination Survey Record

	Date
	Time
	Instrument

Model #
	Instrument

Serial #
	Bkgd

(dpm)
	Survey Description

(location of survey, items surveyed, etc.
	Survey Results

(dpm/100 cm2)
	Signature

	01Apr05
	0900
	Ludlum 3
	198712
	50
	Direct survey of MBB 3.101 north bench rad area near sink.
	Nothing above background
	Radiation Worker

	01Apr05
	1430
	LS6500
	707326
	86
	Smear samples of inside of Beckman centrifuge in WEL 4.265
	See attached LSC printout
	Super Technician
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